## F-Alert1
SrNo | ADDRESS | CAUSE | TypeOfEnv | NoOfFiremen | NoOfVehicles | CallTime | ReachTime | ReturnTime | SecondCallReqd | EquipmentUsed | CASUALITY | ACTION | ExtinguishedBy
1 | snehadeep soc, koparkhairne, sec17 | electric meter room S.C | residence | 6 | 1 | 14:45 | 14:49 | 15:40 | No | exhaust blower | No | extinguish | Firemen
2 | vashi koparkhairne rd, sec16 | overheaed car engine | burning car | 7 | 1 | 9:35 | 9:37 | 10:10 | No | water | No | disconnected battery & cooled engine | Firemen
3 | vashi palm beach rd, sec16 | cable caught fire(transformer) | transformer | 5 | 1 | 11:50 | 11:58 | 12:09 | No | ABC fire extinguisher | No | lock broken | Firemen
4 | omkar soc, sec22, turbhe gaon | fridge S.C | residence | 5 | 1 | 5:30 | 5:34 | 6:30 | No | water | No | extinguish | Firemen
5 | thane belapur rd, sec 12, vashi, aminman apt | property caught fire from S.C | residence | 5 | 1 | 10:15 | 10:18 | 10:56 | No | water | No | extinguish | Firemen
6 | devashish soc, vashi kopar rd, sec28, vashi | electric meter room S.C(plywood caught fire) | residence | 5 | 1 | 2:15 | 2:18 | 3:00 | No | mini water tender | No | power cut & poured water | Firemen
7 | vashi belapur rd, APMC market | SC | market | 5 | 1 | 20:50 | 20:52 | 21:20 | No | water | No | extinguish | Firemen
8 | vashi kopar rd, sec15, room 567 | air cooler caught fire | building | 6 | 1 | 20:45 | 20:55 | 21:35 | No | No | No | extinguished by civilians | Civilians
9 | thane belapur rd, MIDC pawne, plot no 145 | chemical drum caught fire | industry | 4 | 1 | 1:05 | 1:15 | 1:51 | Yes | water | No | extinguish | Firemen
10 | angarika soc, sec 4, vashi | unknown | residence | 5 | 1 | 2:25 | 2:27 | 2:55 | No | No | No | electric supply cut by civilians & inspection by dept | Civilians
11 | vashi, sec 10, next to reliance fresh | meter box caught fire | road | 5 | 1 | 7:10 | 7:12 | 7:30 | No | No | No | power supply cut & inspection | Firemen
12 | vashi kopar rd, sec 17, yummy dosa | overhead S. C | road | 5 | 1 | 13:30 | 13:33 | 13:50 | No | No | No | power supply cut by civilians | Civilians
13 | thane belapur rd, plot 46, sec 1, koparkhairne | internet cable box caught fire | residence | 5 | 1 | 13:51 | 13:54 | 14:00 | No | No | No | already extinguished by civilians | Civilians
14 | turbhe vashi rd, kanda-batata market, sec18, sirsa comp | AC caught fire | commercial | 6 | 1 | 17:47 | 17:50 | 18:25 | No | multipurpose fire engine, water | No | extinguish | Firemen
15 | vashi kopar rd, sec 14, vashi, NMCV official, mumbai | AC caught fire | commercial | 5 | 1 | 18:45 | 18:50 | 19:15 | No | extinguisher | No | extinguished by civilians | Civilians
16 | vashi belapur rd, sec18, vashi, veg hotel | fridge caught fire | hotel | 5 | 1 | 17:40 | 17:42 | 18:35 | No | extinguisher, water | No | extinguished by civilians, water by firemen | Civilians
17 | vashi kopar rd, sec14, vashi, new alaknanda soc | Unknown | residence | 5 | 1 | 3:55 | 3:59 | 6:30 | No | water | No | extinguish | Firemen
18 | vashi kopar rd, sec20, snehadeep hospital | wiring S.C | hospital | 4 | 1 | 22:06 | 22:10 | 22:40 | No | fire extinguisher | No | current supply cut-off, extinguish | Firemen
19 | sion panvel highway rd, vashi bridge, sec30 | Unknown | car | 4 | 1 | 16:15 | 16:20 | 16:50 | No | mini water tender | No | extinguish | Firemen
20 | Vashi Sion Panvel Highway,Sec17 | Meter room caught fire | Residental | 5 | 1 | 1:30 | 1:38 | 3:00 | No | ABC fire extinguisher | No | Extinguish | Firemen
21 | Vashi Koparkhirne Road,Sec 11,Palime apartment | Garbage caught fire due to fireworks | Residental | 1 | 1 | 23:05 | 23:20 | 0:10 | No | Mini tender | No | Extinguish | Firemen
22 | Vashi koparkhairne rd, Sec 17, Dk wines | Shed caught fire | Wine Shop | 4 | 1 | 21:32 | 21:33 | 21:52 | No | Extinguisher | No | Extinguish by civilians | Civilians
23 | Vashi koparkhairne rd, Sec 12,Ganesh row house, Plot 28 | Indoor wooden mandir | Residental | 4 | 1 | 21:02 | 21:05 | 21:42 | No | Multi-Purpose fire Extinguisher | No | Extinguish | Firemen
24 | Sion panvel highway rd, Vashi ,Sec16 behind Vishnudas Bhave | unknown | Road | 5 | 1 | 9:25 | 9:26 | 9:47 | No | 2cans ABC fire extinguisher | Man was burned near transformer | Extinguish | Firemen
25 | Vashi Koparkhirne Road, Sec 19 Shivam apartment | Bedsheet / Matres caught fire | Residental | 9 | 2 | 22:55 | 22:57 | 23:55 | Yes | Multi water tender | No | Extinguish by civilians | Civilians
26 | Vashi Koparkhirne Road, near bus depot | Tree caught fire | Bus Depot | 4 | 1 | 22:08 | 23:02 | 22:50 | No | Multi-Purpose fire Extinguisher | No | Extinguish | Firemen
27 | vashi turbhe road sec18,mapro market | Garbage caught fire | road | 4 | 1 | 17:45 | 17:49 | 18:25 | No | Multi water tender | No | Extinguish | Firemen
28 | vashi kopar rd, sec 10, behind shabri hotel | unknown | road | 4 | 1 | 3:10 | 3:12 | 4:10 | No | water | No | Extinguish | Firemen
29 | thane belapur highway ,turbhe dumping ground | unknown | road | 10 | 3 | 4:45 | 4:50 | 7:23 | Yes | Water browser ,multipurpose water tender and sand | No | Extinguish | Firemen
30 | sion panvel highway rd,hari om computer shop sec17 | wiring | Shop | 5 | 1 | 19:35 | 19:38 | 20:55 | No | Multi water tender | No | Extinguish | Firemen
31 | thane belapur rd, MIDC dumping ground,bk enterprise godowns | chemical drum caught fire | Office | 6 | 1 | 6:20 | 6:25 | 10:50 | No | Water browser | No | Extinguish | Firemen
32 | Vashi Sion Panvel sec 6, wokaand hospital | unknown | hospital | 4 | 1 | 21:00 | 21:05 | 22:11 | No | mini water tender | No | Extinguish | Firemen
33 | vashi palm beach rd, inorbit mall | Garbage ,underground cable | Road | 4 | 1 | 14:10 | 14:12 | 14:40 | No | Multpurpose water tender | No | Extinguish | Firemen
34 | Thane Belapur road,Turbhe naka,near bridge | Tree caught fire | road | 5 | 1 | 7:02 | 7:05 | 7:50 | No | water | No | Extinguish | Firemen
35 | Vashi koparkhairne rd, Sec 12,railway station slum area | unknown | rail road | 5 | 1 | 16:10 | 16:15 | 17:25 | No | Fire engine pump and water | No | Extinguish | Firemen
36 | sion panvel highway rd,kerala bhawan | Garbage caught fire | ground | 5 | 1 | 11:55 | 11:58 | 0:35 | No | Multi-Purpose fire Extinguisher | No | Extinguish | Firemen
37 | sion panvel highway rd,sahitya sabhagruha, sec6 | Short circuit of solar panel | Residental | 5 | 1 | 14:33 | 14:37 | 15:06 | No | ABC fire extinguisher | No | Extinguish | Firemen
38 | panvel vashi gaon slum area jagratheshwar temple road | Grass | slum | 5 | 1 | 21:50 | 21:55 | 22:40 | No | Multi-Purpose fire Extinguisher | No | Extinguish | Firemen
39 | sion panvel highway rd | Riots | Road | 5 | 1 | 20:05 | 20:10 | 21:15 | No | gas engine and water | No | Extinguish | Firemen
40 | thane belapur highway ,turbhe gaon, sec22 | mscb DP short circuit | road | 5 | 1 | 4:35 | 4:40 | 5:05 | No | fire extinguisher and muti purpose tender | No | Cut off supply | Firemen
41 | Sion panvel rd, Vashi khadi Mumbai- Panvel Highway Rd | Car Engine's battery wiring S. C | Road | 5 | 1 | 17:52 | 17:59 | 20:52 | No | Fire engine pump | No | Extinguish water | Firemen
42 | sion panvel highway rd, mumbai-pune khadi bridge | Engine got overheated | Road | 4 | 1 | 18:45 | 18:55 | 19:20 | No | No | No | Civilians used water | Civilians
43 | vashi koparkhairne highway rd, sec28, behind Diamond hotel | Grass | Road | 4 | 1 | 21:00 | 21:05 | 21:56 | No | Mini water tender | No | Extinguish water | Firemen
44 | vashi palm beach rd, sec 4, behind vrindhavan society | Transformer wire caught fire | Road | 5 | 1 | 12:55 | 13:00 | 13:40 | No | Fire engine pump | No | Stopped supply of transformer , extinguish | Firemen
45 | vashi palm beach uran rf, vaishav logistics, container godown | unknown | Godown | 0 | 0 | 16:00 | 16:35 | 17:00 | No | Water browser | No | Extinguish water | Firemen
46 | thane belapur highway rd APMC market office | Car's engine caught fire | Road | 5 | 1 | 16:50 | 16:57 | 17:55 | No | Multi water tender | No | Extinguish | Firemen
47 | sion panvel vashi gaon, plot 57, ganga society | Short circuit of cable | Residental | 5 | 1 | 6:15 | 6:17 | 6:35 | No | No | No | Main supply was stopped | Firemen
48 | thane belapur rd, koparkhairne, sec2, prestige exclusive shop | unknown | Shop | 4 | 1 | 12:17 | 12:20 | 2:45 | No | Water | No | Extinguish water | Firemen
49 | sion panvel, sce 6, MSCB | MSCB pillar caught fire | Road | 4 | 1 | 15:04 | 15:14 | 15:25 | No | No | No | MSCB supply cut off | Firemen
50 | Vashi koparkhairne rd, JN society | Room's tubelight S. C | Room | 5 | 1 | 15:45 | 15:50 | 15:59 | No | No | No | Civilians called wiremen to cut off supply | Civilians
51 | vashi, sec16, neelgiri society, street | Street light S. C | Road | 5 | 1 | 19:58 | 20:00 | 20:15 | No | Mini water tender | No | Extinguish water | Firemen
52 | Turbhe Road,APMC,Bunder Market | Car caught fire | Road | 5 | 1 | 14:00 | 14:05 | 15:05 | No | Water | No | Extinguisher | Firemen
53 | Sion Panvel, Sec17,Jai Jawn Building | First Floor cable caught fire | Residental | 5 | 1 | 22:50 | 22:55 | 23:10 | No | Mini water tender | No | Cut off supply | Firemen
54 | Shikha Tower,Sec 1, Koparkhairne | Meter room caught fire | Office | 5 | 1 | 23:05 | 23:10 | 23:45 | No | No | No | Cut off supply | Firemen
55 | Sion Panvel, Sec 9,Millenium Tower | Meter room caught fire | Residental | 5 | 1 | 8:47 | 8:53 | 9:23 | No | No | No | Civilians used fire extinguisher | Civilians
56 | Thane Belapur road,Sec 10,Police Station | Riots | Room | 5 | 1 | 18:30 | 18:38 | 20:30 | No | Multi-Purpose fire extinguisher and water | No | Extinguisher | Firemen
57 | Vashi Koparkhirne Road,Sec 17,APMC,Kanda Batata Market,Inside Cabin | Stove caught fire | Room | 5 | 1 | 16:15 | 16:17 | 16:30 | No | No | No | Civilians used water | Civilians
58 | Sion Panvel, Sec 13,Bajrang Paper Mart | Short circuit | Shop | 5 | 1 | 12:24 | 12:28 | 12:55 | No | ABC fire extinguisher | No | Cut off supply and extinguish | Firemen
59 | Vashi Koparkhirne Road,Sec 11,Juhu Gaon,Hotel Kapil Bar | Cylinder caught fire | Hotel | 5 | 1 | 12:00 | 12:05 | 12:25 | No | ABC powder | No | Extinguish Water | Firemen
60 | Thane Belapur road,Turbhe naka | Truck's cabin caught fire | Road | 4 | 1 | 0:25 | 0:31 | 1:10 | No | Water | No | Extinguish Water | Firemen
61 | Vashi Thane Palm beach road,Sec11,Ananya Vas Building | Room caught fire | Room | 5 | 1 | 21:40 | 21:50 | 22:25 | No | Multi-Purpose fire extinguisher and water | No | Extinguish | Firemen
62 | Shikha Tower,Sec 1, Koparkhairne | Meter room caught fire | Office | 4 | 1 | 22:00 | 22:05 | 22:57 | No | Multi-Purpose fire extinguisher and water | No | Extinguish | Firemen